{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["BoQ1","Macros"],"not_rendered":{"macros":1,"external_links":3,"defined_names":30},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"BoQ1","index":0,"n_rows":28,"n_cols":55,"rows_kept":28,"hidden":true,"merged":[[0,0,0,11],[3,0,3,54],[4,0,4,54],[5,0,5,54],[6,0,6,54],[7,1,7,54],[8,0,8,54],[27,2,27,54]],"flags":["formulas_cached_only"]}
["Item Rate BoQ"]
["BoQ_Ver3.0","Item Rate","Normal","INR Only","INR"]
["Select, Excess (+), Less (-)",null,"Less (-)"]
["Tender Inviting Authority: Director, CSIR-IMMT, Bhubaneswar."]
["Name of Work: Supply of Spare parts/consumables for ICP-MS. "]
["Contract No:  IMMT/PZ/40/2025"]
["Contract No:  IMMT/P/AMC/01/2020"]
["Name of the Bidder/ Bidding Firm / Company :"]
["PRICE SCHEDULE\n(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )"]
["NUMBER #","TEXT #","TEXT #","NUMBER #","TEXT #","NUMBER","NUMBER","TEXT","TEXT #","NUMBER #","TEXT#","TEXT #","NUMBER #","NUMBER","NUMBER","NUMBER","NUMBER","TEXT","TEXT","NUMBER","NUMBER","NUMBER","NUMBER","TEXT","TEXT","NUMBER","NUMBER","NUMBER","NUMBER","TEXT","TEXT","NUMBER","NUMBER","NUMBER","NUMBER","TEXT","TEXT","NUMBER","NUMBER","NUMBER","NUMBER","TEXT","TEXT","NUMBER","NUMBER","NUMBER #","NUMBER #","TEXT","TEXT","NUMBER #","NUMBER #","DATE","NUMBER #","NUMBER #","TEXT #"]
["Sl.\nNo.","Item Description","Country of Origin and Make","Quantity","Units","Estimated Rate in\nRs.      P",null,"HSN Code","Addition / Deduction","Addition / Deduction Values","Currency Convertion against each Item","Quoted Currency in INR / Other Currency","UNIT PRICE without any Tax in Figures to be entered by the bidder in INR","Total amount in INR","Packing, Forwarding, inland freight charges, if any in INR","GST in Percentage (%)","Calculated GST amount",null,null,"Installation, commissionig and training charges (Inclusive of taxes) (if any)","IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax","Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category ",{"$nulls":30},"TOTAL AMOUNT ","TOTAL AMOUNT  With Taxes","TOTAL AMOUNT \nIn Words"]
[1,2,3,3,4,6,7,5,9,10,11,12,6,7,15,8,9,18,19,20,21,22,23,24,25,26,27,28,29,30,31,32,33,34,35,36,37,38,39,40,41,42,43,44,45,46,47,48,49,50,51,52,10,54,11]
[1,"MicroMist Nebulizer (Glass) U-series","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[2,"ICP-MS Sampler Cone, Nickel","item1",{"v":2,"d":"2.00"},"Nos.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[3,"77/78/8880 skimmer cone, Ni, x-lens","item1",{"v":2,"d":"2.00"},"Nos.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[4,"ICPMS PeriPump tube ISTD blu/org","item1",{"v":2,"d":"2.00"},"Nos.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[5,"ICPMS PeriPump tube Sample wht/wht","item1",{"v":2,"d":"2.00"},"Nos.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[6,"Spray Chamber for UHMI, 7900 ICP-MS","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[7,"Torch Quartz 2.5mm id for ICP-MS","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[8,"Long Life pt Shield, ICP-MS Shield Torch","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[9,"Shield Torch Bonnet, quartz 7/8x00 ICP-MS","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[10,"Quartz connector tube straight, ICP-MS","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[11,"Graphite gasket for sampling cone","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[12,"Single-piece-x-lens assembly","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
[13,"Easy-Fit Peristaltic Pump tubing, long-life","item1",{"v":1,"d":"1.00"},"No.",{"v":10,"d":"10.00"},null,null,"Excess(+)",1,"Full Conversion","INR",null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"$nulls":35},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},"INR Zero Only"]
["Total in Figures",{"$nulls":51},{"v":0,"d":"0.00"},{"$error":"#REF!"},"INR Zero Only"]
["Quoted Rate in Figures",{"$nulls":3},"Select",{"$nulls":47},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"}," Zero Only"]
["Quoted Rate in Words",null,"INR Zero Only"]

{"sheet":"Macros","index":1,"n_rows":6,"n_cols":5,"rows_kept":6,"merged":[[5,4,13,10]],"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[]
[{"$nulls":4},"Please Enable Macros to View BoQ information"]