## Sheet1 (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
COST OF SUMMARY / FORM J
S.No | Item of Works |  |  | Amount
1 | INTERIOR FURNISHING | A |  | 4606001.73 | 46.06
510
2 | ELECTRICAL WORK INCLUDING PANEL , DBS, WIRING FOR LIGHTS ,UPS AND AIRCONDITIONING , FITTINGS AND FIXTURES |  | B | #REF! | #REF! |  | 5489.64
36.5976
3 | AIRCONDITIONINGWORK/HVAC WORK | C |  | 0 | 0
4 | TOTAL (A+B+C) | D |  | #REF! | #REF!
5 | ADD CONTINGENCY @ 10 % | E |  | #REF! | #REF!
#REF!
6 | GRAND TOTAL ( D+E) | F |  | #REF! | #REF!
NOTE:- | G.S.T.- EXTRA AS APPLICABLE

## BOQ FURNISHING (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
BOQ FURNISHING
S.N. | Description of Item | Unit | Quantity | Rate | Amount
1 | MINERAL FIBRE CEILING: Providing & fixing of Armstrong/ AMF mineral fibre acoustic false ceiling tiles of type dune premier 99% RH micro look gridof size 600mm x600mm x15mm with tegular edgeat all heights laid on Armstrong/AMF prelude XL hot diped galvanosed exposed grid with 15mm wide T section, exposed flangewhich shall be powder coatedin white colour.The frame work will comparise runner made of 0.33mmthich GS sheet and of size 24mmx36mmx3000mm and spaced at 1200mm centre to centre securely fixed to the structural soffitby approved hangers at 1200mm maximum centre to centre( GI wire of 4.0 mm dia) to be fixed by approved rawl plug ,level adjusters and screws etc.The last hanger at the end of each main runnershall not be greater than 450mm from the adjacent wall. Flush fittings of 1200mm long cross Tee( with double stitching) to be interlocked between main runner at 600mm centre to centre to 1200mm x600mm centre modules.Cut cross Tee longer than 600mm to be supproted independently 600mmx600mm modules to be supported by fitting 600mm long cross Tee centrally between 1200 mm cross Tee.Perimeter wall angle shall be 0.45 mm thick GS sheet and of size 19mm x19mm and 3000mm long of white colour.The rates will include cuttingof slots in ceiling and fixing electrical/fire alarm fittings as instructed by the Engineer -in- charge. | sqmt | 312.18 | 1650 | 515097
2 | GYPSUM FALSE CEILING: Providing & fixing at all heights false ceiling of 12.5 mm thick tapered edge Gypsum board confirming to IS;2905 including and providing of frame work made of special section( make: Gypsum India) power pressed from MS sheet and galvanoised in accordence with zink coating 600 micron as per IS:277 and consisting ofangle cleat of size 25 mm wide x1.6 mm thick with flange fixed to ceiling with dash fastner 12.5 mm x40 mm long with 6 mm dia bolts to the angle hangers of 25x25x5 mm of required length and other end of angle hanger being fixed with nuts and bolts of GI channels 45x45x0.9 mm running at the rate of 900 mm centre to centre to which the ceiling section of 0.5 mm thick bottom wedge of 80mm with tapered flanges of 26 mm each having clips of 10.5 mm dia at 450 mm centre to centre and shall be fixed in a direction perpendicular to GI channel with connecting clips made out of 2.64 mmm dia x230 mm long GI wireat every junction including fixing the Gypsum board with ceiling section and perimeter of ceiling fixed to the wall /partition with the help of rawl plugat 450 mm centre to centte with 25 mm long drive.all screws @230 mm interval including jointing and fixing to flush finish of tapered and square edge of Gypsum board with recommended filler,paper finisher and one coat of primer suitable for Gypsum board as per manifacturer and also including the cost of making opening for lights fittings, diffusers, grills,cutout made with frame of perimeter specification and also including two coats of painting as per direction of Engineer-in Charge. | sqmt | 90.44 | 1250 | 113050
3 | Wall Panneling: Providing & fixing wall panneling with 9 mm thick BWR board fixed over 38mmx38mm x1.5 mm thick aluminium section and finished with 1.0 mm thick laminate pasted with necessary adhesive. | sqmt | 416.71 | 2265 | 943848.15
4 | OFFICER TABLES: 2100mmx2050X900mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-2100+2050mm ,W-900mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | Nos. | 3 | 22500 | 67500
5 | REGIONAL MANAGER TABLE:2700+2500mm x900mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-2700+2500mm ,W-900mm , D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | No. | 1 | 28500 | 28500
6 | DR.MANAGER/OFFICER/ASST. TABLE:1800*1800mm x750mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-1800*1800mm ,W-750mm , D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | No. | 20 | 12500 | 250000
7 | ASST. TABLE:13.00mm x750mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-1300mm ,W-750mm , D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | No. | 1 | 125000 | 125000
8 | STORAGE CABINETS ( Depth 750mm).T The storage cabinets shall be made with 19mm thick BWR board and shall be finished with 1.0 mm thick laminateof approved make on all exposed surface and 0.8 mm thick laminate on inner surface and 9 mm thick teak wood polished beading.The storage cabinets shall have openable shutters fixed on hinges with necessary lock, handles etc. The storage cabinets shall have two selves made with 19 mm thick board. ( For area measurement length and height shall be considerd) | sqmt | 17.92 | 5500 | 98560
9 | Curvalinear Work stations: The work station shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade on top and 0.8 mm thick milky white colour at bottom surface. The work station shall be1500 x1500 mm with curvalinear at front and 600 mm width at end.The curve surface shall be finisted with 32mm wide PVC tape fixed with heatex solution.The work station shall also consist key board tray and CPU trolly and foot rest. The work sdtation shall be fixed and supported with wooden partitions ( partitions shall be paid seperately). The work station shall have three drawers unit ( L-600mm ,W-300mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and polished on exposed surface. The front face of drawers shall be finished with 1.0 mm thick laminate. The drawer shall run on channels and shall have individual lock and handle.The work station shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | SQM. | 21.42 | 4200 | 89964
10 | Linear Work stations: The work station shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade on top and 0.8 mm thick milky white colour at bottom surface. The work station shall be 1500 mm long and 750 mm wide linear at front.The surface shall be finisted with 32mm wide PVC tape fixed with heatex solution.The work station shall also consist key board tray and CPU trolly and foot rest. The work sdtation shall be fixed and supported with wooden partitions ( partitions shall be paid seperately). The work station shall have three drawers unit ( L-600mm ,W-300mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be 1.0 mm thick laminate on exposed surface. The front face of drawer shall be finished with 1.0 mm thick laminate.The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | SQM. | 29.97 | 7000 | 209790
11 | LOW HEIGHT/FULL HEIGHT PARTITIONS: Providing & fixing low height partition with 9mm thick BWR ply fixed on 32mmx32mmx1.5 mm aluminium sectionplaced at 300mmcentre to centre horizently and vertically and finished with 1.0 mm thick laminatesof approved make pasted with necessary adhesive,12mm thick polished beading and also including 6mm thick Modi flaot glass fixed partiallyetc. complete in all respect. | sqmt | 234.94 | 3200 | 751808
12 | Providing & fixing 12mm thick toughened glass door with patch fittings and 450 mm long D type handle in each shutter on both side. Make Ozone/Dorma | sqmt | 15.72 | 8500 | 133620
13 | Prioviding & fixing 12mm thick fixed toughened glass with patch fittings. ( Make Ozone/Dorma only) | sqmt | 2.52 | 7950 | 20034
14 | Providing & applying two or more coats of plastic emulsionpaint on walls. | sqmt | 469.88 | 120 | 56385.6
15 | Providing & applying Birla/JK wall putty on walls to give even surface. | sqmt | 469.88 | 70 | 32891.6
16 | NOTICE BOARD: Providing & fixing of notice board ( as per design) of size 900mmx600mm x150mm. The sides shall be made of 19mm thick BWR board and finished with 1.0 mm thick laminateas per approved make and colour on all exposed surface. The back of notice board shall be mde with 12mm thick ply covered with 20 mm thick thermocol and belvet cloth.The notice board shall have sliding glass arrangement in two parts. | No. | 1 | 2500 | 2500
17 | Supply and fixing of door closer. | Nos. | 2 | 1000 | 2000
18 | Supply & fixing of mortise locks in doors.( Make Godrej only) | Nos. | 2 | 500 | 1000
19 | Providing and fixing 30 mm thick solid core flush door shutters for doors including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws etc. all complete as per direction of Engineer-in-charge. | sqmt | 6 | 3000 | 18000
20 | Providing & fixing of stainless steel ( Mat finish) fittings: Sliding door bolt : 250mmx12mm | Nos. | 2 | 100 | 200
21 | Tower bolt :250mm | Nos. | 4 | 100 | 400
22 | Handles 100mm | Nos. | 4 | 80 | 320
23 | Conference room table: 7.800x1.80m ( 24 Persons Capacity) The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate ans 9mm thick polished teak wood beading. The frame of the table shall be made with teak wood beading duly poolished. | Rmt. | 19.2 | 8500 | 163200
24 | Providing & fixing Vertical roller blinds on windows.( Make: Vista only) | sqmt | 80.25 | 2850 | 228712.5
| Note : Materials make: Ply /board: Archid/Samrat/Century/Green/ Kalpatru Laminates: Archid/Green/Century/Asis/Veer Channels: Apco/Earl Bihari Paint: Asian ( Aqualite) |  |  | Total | 3852380.85 | 4606001.73 | 4606001.73
[5 empty] | Plus GST | 3413434.69
8019436.42
4606001.73

## DET. FURNISHING (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
DETAILED OF MEASUREMENT
BANK
S. N. | ITEM | NO. | L | B | D/H | Qty. | UNIT
1 | MINERAL FIBRE CEILING: Providing & fixing of Armstrong/ AMF mineral fibre acoustic false ceiling tiles of type dune premier 99% RH micro look gridof size 600mm x600mm x15mm with tegular edgeat all heights laid on Armstrong/AMF prelude XL hot diped galvanosed exposed grid with 15mm wide T section, exposed flangewhich shall be powder coatedin white colour.The frame work will comparise runner made of 0.33mmthich GS sheet and of size 24mmx36mmx3000mm and spaced at 1200mm centre to centre securely fixed to the structural soffitby approved hangers at 1200mm maximum centre to centre( GI wire of 4.0 mm dia) to be fixed by approved rawl plug ,level adjusters and screws etc.The last hanger at the end of each main runnershall not be greater than 450mm from the adjacent wall. Flush fittings of 1200mm long cross Tee( with double stitching) to be interlocked between main runner at 600mm centre to centre to 1200mm x600mm centre modules.Cut cross Tee longer than 600mm to be supproted independently 600mmx600mm modules to be supported by fitting 600mm long cross Tee centrally between 1200 mm cross Tee.Perimeter wall angle shall be 0.45 mm thick GS sheet and of size 19mm x19mm and 3000mm long of white colour.The rates will include cuttingof slots in ceiling and fixing electrical/fire alarm fittings as instructed by the Engineer -in- charge.
| CONFERENCE HALL | 1 | 5.58 | 11.66 |  | 65.06
| REIGIONAL MANAGER | 1 | 5.17 | 5.995 |  | 30.99
| CHIEF MANAGER | 3 | 3 | 3.5 |  | 31.5
| ASSISSTANT | 1 | 7.38 | 3.5 |  | 25.83
| DR.MANAGER/OFFICER/ASSISTANT | 1 | 18.53 | 8.57 |  | 158.8
[5 empty] | Total | 312.18 | Sqm
[5 empty] | G.Total | 312.18 | Sqm
2 | GYPSUM FALSE CEILING: Providing & fixing at all heights false ceiling of 12.5 mm thick tapered edge Gypsum board confirming to IS;2905 including and providing of frame work made of special section( make: Gypsum India) power pressed from MS sheet and galvanoised in accordence with zink coating 600 micron as per IS:277 and consisting ofangle cleat of size 25 mm wide x1.6 mm thick with flange fixed to ceiling with dash fastner 12.5 mm x40 mm long with 6 mm dia bolts to the angle hangers of 25x25x5 mm of required length and other end of angle hanger being fixed with nuts and bolts of GI channels 45x45x0.9 mm running at the rate of 900 mm centre to centre to which the ceiling section of 0.5 mm thick bottom wedge of 80mm with tapered flanges of 26 mm each having clips of 10.5 mm dia at 450 mm centre to centre and shall be fixed in a direction perpendicular to GI channel with connecting clips made out of 2.64 mmm dia x230 mm long GI wireat every junction including fixing the Gypsum board with ceiling section and perimeter of ceiling fixed to the wall /partition with the help of rawl plugat 450 mm centre to centte with 25 mm long drive.all screws @230 mm interval including jointing and fixing to flush finish of tapered and square edge of Gypsum board with recommended filler,paper finisher and one coat of primer suitable for Gypsum board as per manifacturer and also including the cost of making opening for lights fittings, diffusers, grills,cutout made with frame of perimeter specification and also including two coats of painting as per direction of Engineer-in Charge.
| UTILITY | 1 | 1.85 | 3.5 |  | 6.48
| LOBBY | 1 | 5.735 | 5.735 |  | 32.89
| WAITING AREA\ | 1 | 5.17 | 6.15 |  | 31.8
| CORRIDOR | 1 | 8.76 | 2.2 |  | 19.27
[5 empty] | Total | 90.44 | Sqm
[5 empty] | G.Total | 90.44 | Sqm
3 | Wall Panneling: Providing & fixing wall panneling with 9 mm thick BWR board fixed over 38mmx38mm x1.5 mm thick aluminium section and finished with 1.0 mm thick laminate pasted with necessary adhesive.
| CONFERENCE HALL | 1 | 21.24 |  | 3.2 | 67.97
|  | 1 | 110.36 |  | 3.2 | 353.15
| DEDUCTION DOOR | -2 | 1.05 |  | 2.1 | -4.41
[5 empty] | Total | 416.71 | Sqm
4 | OFFICER TABLES: 2100mmx2050X900mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-2100+2050mm ,W-900mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer.
| CHIEF MANAGER | 3 |  |  |  | 3
[5 empty] | Total | 3 | Each
[5 empty] | G.Total | 3 | Each
5 | OFFICER TABLES: 2100mmx2050X900mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-2100+2050mm ,W-900mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer.
| REGIONAL MANAGER | 1 |  |  |  | 1
[5 empty] | Total | 1 | Each
[5 empty] | G.Total | 1 | Each
6 | DR.MANAGER/OFFICER/ASST. TABLE:1800*1800mm x750mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-1800*1800mm ,W-750mm , D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | 20 |  |  |  | 20
| DR.MANAGER/OFFICER/ASST. TABLE: |  |  |  | Total | 20 | Each
7 | ASST. TABLE:13.00mm x750mm The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade and 9mm thick polished tteak wood beading.The table shall have three drawers ( L-1300mm ,W-750mm , D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be polished on exposed surface. The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer. | 1 |  |  |  | 1
[5 empty] | Total | 1 | Each
8 | STORAGE CABINETS ( Depth 750mm).T The storage cabinets shall be made with 19mm thick BWR board and shall be finished with 1.0 mm thick laminateof approved make on all exposed surface and 0.8 mm thick laminate on inner surface and 9 mm thick teak wood polished beading.The storage cabinets shall have openable shutters fixed on hinges with necessary lock, handles etc. The storage cabinets shall have two selves made with 19 mm thick board. ( For area measurement length and height shall be considerd)
| C.B. | 1 | 1.7 |  | 1.2 | 2.04
|  | 1 | 3.23 |  | 1.2 | 3.88
|  | 1 | 4 |  | 1.2 | 4.8
|  | 1 | 3.6 |  | 1.2 | 4.32
|  | 1 | 2.4 |  | 1.2 | 2.88
[5 empty] | Total | 17.92 | Sqm
[5 empty] | G.Total | 17.92 | Sqm
9 | Curvalinear Work stations: The work station shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade on top and 0.8 mm thick milky white colour at bottom surface. The work station shall be1500 x1500 mm with curvalinear at front and 600 mm width at end.The curve surface shall be finisted with 32mm wide PVC tape fixed with heatex solution.The work station shall also consist key board tray and CPU trolly and foot rest. The work sdtation shall be fixed and supported with wooden partitions ( partitions shall be paid seperately). The work station shall have three drawers unit ( L-600mm ,W-300mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and polished on exposed surface. The front face of drawers shall be finished with 1.0 mm thick laminate. The drawer shall run on channels and shall have individual lock and handle.The work station shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer.
| DR. MANAGER/OFFICER/ASST. | 7 | 1.8 |  | 1.2 | 15.12
|  | 7 | 0.75 |  | 1.2 | 6.3
[5 empty] | Total | 21.42 | SQM.
[5 empty] | G.Total | 21.42 | SQM.
10 | Linear Work stations: The work station shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate of approved make and shade on top and 0.8 mm thick milky white colour at bottom surface. The work station shall be 1500 mm long and 750 mm wide linear at front.The surface shall be finisted with 32mm wide PVC tape fixed with heatex solution.The work station shall also consist key board tray and CPU trolly and foot rest. The work sdtation shall be fixed and supported with wooden partitions ( partitions shall be paid seperately). The work station shall have three drawers unit ( L-600mm ,W-300mm ,D-150 mm ) at right side and shall be finished with 0.8 mm thick laminate on inner surface and shall be 1.0 mm thick laminate on exposed surface. The front face of drawer shall be finished with 1.0 mm thick laminate.The drawer shall run on channels and shall have individual lock and handle.The table shall have CPU stand at left side with foot rest arrangement.The CPU stand and footrest shall be painted with two coats enamel paint over one coat primer.
| DR. MANAGER/OFFICER/ASST. | 3 | 5.55 |  | 1.8 | 29.97
[5 empty] | Total | 29.97 | SQM.
[5 empty] | G.Total | 29.97 | SQM.
11 | LOW HEIGHT/FULL HEIGHT PARTITIONS: Providing & fixing low height partition with 9mm thick BWR ply fixed on 32mmx32mmx1.5 mm aluminium sectionplaced at 300mmcentre to centre horizently and vertically and finished with 1.0 mm thick laminatesof approved make pasted with necessary adhesive,12mm thick polished beading and also including 6mm thick Modi flaot glass fixed partiallyetc. complete in all respect.
| LOW HEIGHT PARTITION | 1 | 16.606 |  | 1.2 | 19.93
|  | 3 | 3.5 |  | 1.2 | 12.6
| FULL HEIGHT PARTITION | 1 | 5.17 |  | 3.2 | 16.54
|  | 1 | 5.995 |  | 3.2 | 19.18
| CONFERENCE ROOM | 1 | 11.66 |  | 3.2 | 37.31
|  | 1 | 5.58 |  | 3.2 | 17.86
|  | 1 | 18.03 |  | 3.2 | 57.7
|  | 2 | 5.735 |  | 3.2 | 36.7
| UTILITY/RECORD ROOM | 1 | 1.85 |  | 3.2 | 5.92
|  | 1 | 3.5 |  | 3.2 | 11.2
[5 empty] | Total | 234.94 | Sqm
[5 empty] | G.Total | 234.94 | Sqm
12 | Providing & fixing 12mm thick toughened glass door with patch fittings and 450 mm long D type handle in each shutter on both side. Make Ozone/Dorma
| GLASS PARTITION | 1 | 5.7 |  | 3.2 | 18.24
|  | -1 | 1.2 |  | 2.1 | -2.52
[5 empty] | Total | 15.72 | Sqm
[5 empty] | G.Total | 15.72 | Sqm
13 | Prioviding & fixing 12mm thick fixed toughened glass with patch fittings. ( Make Ozone/Dorma only)
| GLASS DOOR | 1 | 1.2 |  | 2.1 | 2.52
[5 empty] | Total | 2.52 | Sqm
[5 empty] | G.Total | 2.52 | Sqm
14 | Providing & applying two or more coats of plastic emulsionpaint on walls.
| LOW HEIGHT PARTITION | 2 | 16.606 |  | 1.2 | 39.85
|  | 6 | 3.5 |  | 1.2 | 25.2
| FULL HEIGHT PARTITION | 2 | 5.17 |  | 3.2 | 33.09
|  | 2 | 5.995 |  | 3.2 | 38.37
| CONFERENCE ROOM | 2 | 11.66 |  | 3.2 | 74.62
|  | 2 | 5.58 |  | 3.2 | 35.71
|  | 2 | 18.03 |  | 3.2 | 115.39
|  | 4 | 5.735 |  | 3.2 | 73.41
| UTILITY/RECORD ROOM | 2 | 1.85 |  | 3.2 | 11.84
|  | 2 | 3.5 |  | 3.2 | 22.4
[5 empty] | Total | 469.88 | Sqm
[5 empty] | G.Total | 469.88 | Sqm
15 | Providing & applying Birla/JK wall putty on walls to give even surface.
| SAME AS PAINT AREA | 1 | 469.88 |  |  | 469.88
[5 empty] | Total | 469.88 | Sqm
[5 empty] | G.Total | 469.88 | Sqm
16 | NOTICE BOARD: Providing & fixing of notice board ( as per design) of size 900mmx600mm x150mm. The sides shall be made of 19mm thick BWR board and finished with 1.0 mm thick laminateas per approved make and colour on all exposed surface. The back of notice board shall be mde with 12mm thick ply covered with 20 mm thick thermocol and belvet cloth.The notice board shall have sliding glass arrangement in two parts. | No. | 1 |  |  | 1
[5 empty] | Total | 1 | NO
17 | Supply and fixing of door closer. | Nos. | 2 |  |  | 2 | Nos.
18 | Supply & fixing of mortise locks in doors.( Make Godrej only) | Nos. | 2 |  |  | 2 | Nos.
19 | Providing and fixing 30 mm thick solid core flush door shutters for doors including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws etc. all complete as per direction of Engineer-in-charge. | sqmt | 6 |  |  | 6 | sqmt
20 | Providing & fixing of stainless steel ( Mat finish) fittings: Sliding door bolt : 250mmx12mm | Nos. | 2 |  |  | 2 | Nos.
21 | Tower bolt :250mm | Nos. | 4 |  |  | 4 | Nos.
22 | Handles 100mm | Nos. | 4 |  |  | 4 | Nos.
23 | Conference room table: 7.800x1.80m ( 24 Persons Capacity) The table shall be made with 19 mm thick BWR board and shall be finished with 1.0 mm thick laminate ans 9mm thick polished teak wood beading. The frame of the table shall be made with teak wood beading duly poolished. | Rmt. | 19.2 |  |  | 19.2 | Rmt.
24 | Providing & fixing Vertical roller blinds on windows.( Make: Vista only) | sqmt | 80.25 |  |  | 80.25 | sqmt

## ELE2
BOQ FOR AC WORKS AT RBO-I LUCKNOW WEST IST FLOOR LCPC BUILDING LUCKNOW
DISTRICT:- LUCKNOW (U.P.)
S. No. | Item Description | Unit | Qty | Rate | Amount
1 | Supply of ceiling suspended energy efficient 4 way air-flow Cooling type single phase 2 Tr, BEE rated 5 star inverter technology Cassette type split air conditioner in recessed manner in false ceiling with full function wireless remote and auto restart feature, Copper condenser coils and Copper cooling coils, company provided copper refrigerant, fan and fan motor drain pan and cordless Remote controller pipe complete in all respects with indoor/ outdoor unit, gas charge etc. Acceptable makes of AC: Daikin/ Carrier/ Voltas/ Blue Star/ Hitachi/ Mitsubishi/Toshiba.(Main Hall) | Set | 7
2 | Supply of 2.0 Tr hi wall type BEE rated 5 star inverter technology split air conditioner with full function wireless remote and auto restart feature, with indoor/outdoor unit, gas charge, Copper condenser coils and Copper cooling coils company provided copper refrigerant pipe complete in all respects. Acceptable makes AC: Daikin/Toshiba/O General /Carrier/Blue Star/Voltas/Hitachi/Mitsubishi (Hall) | Set | 5
3 | Supply of 1.5 Tr hi wall type BEE rated 5 star inverter technology split air conditioner with full function wireless remote and auto restart feature, with indoor/outdoor unit, gas charge, Copper condenser coils and Copper cooling coils company provided copper refrigerant pipe complete in all respects. Acceptable makes AC: Daikin/Toshiba/O General/Carrier/Blue Star/Voltas/ Hitachi/Mitsubishi (One each for BM Chamber) | Set | 1
4 | Installation, testing and commissioning of 4/2 TR cassette type air-conditioner with wall cutting/ mounting including making good of damages complete in all respects. | Set | 7
5 | Installation, testing and commissioning of 2/ 1.5/ 1 TR Hi wall type split/window air conditioner with wall cutting/ mounting, stabiliser and making good of damages complete in all respects. For old AC dismentling also to be done. | Set | 6
6 | Supply, installation, testing and commissioning of insulated copper refrigerant piping set (suction and discharge) duly insulated by nitrile rubber for 4/2 TR cassette AC. Size (thickness and dia) of both Copper pipe should as per recommendation of AC manufacturer's technical specification. (Old pipe dismantled from branch is also to be used) Makes:Totaline/ Met Tube/ Diamond/ Star/ Camipro. | Mtr | 140
7 | Supply, installation, testing and commissioning of insulated copper refrigerant piping set (suction and discharge) duly insulated by nitrile rubber for 2/ 1.5/ 1 TR hi wall split AC. Size (thickness and diameter) of both Copper pipes should be as per recommendation of AC manufacturer's technical specification. (Old pipe dismantled from branch is also to be used) Makes: Totaline/ Met Tube/ Diamond/ Star/ Camipro. | Mtr | 90
8 | Supply, installation, testing and commissioning of inter connecting wiring/ cabling between indoor and outdoor of Cassette type split AC (power supply will be made available at the outdoor unit, please quote accordingly). | Mtr | 150
9 | Supply, installation, testing and commissioning of inter connecting wiring/ cabling between indoor and outdoor of hi wall split AC (power supply will be made available at the outdoor unit, please quote accordingly). | Mtr | 100
10 | Supply, installation, testing and commissioning of PVC 25 mm water pipe with accessories and taking care to prevent leakages, for water drainage in concealed manner either on wall or under floor including making good of damages. | Mtr | 100
11 | Supply, installation, testing and commissioning of PVC 32 mm water pipe with accessories and taking care to prevent leakages, for water drainage in concealed manner either on wall or under floor including making good of damages. | Mtr | 60
12 | Supply and installation of robust MS angle, MS flat fabricated floor/ wall mounting stand suitable for outdoor units of Split /Cassette ACs, painted with one coat of primer and two coats of synthetic enamel outdoor type paint including its grouting and making good of damages, complete in all respects. | Nos. | 13
13 | Supply of 5 KVA, wall mounted hi lo cut off stabiliser with TDR, voltage range 140-280V, complete in all respects. Stabilizer: Servel/ V Gaurd/ Marc/Sen & Pandit/ Stambh/ Inmag/Microtek | Set | 12
14 | Supply of 4 KVA, wall mounted hi lo cut off stabiliser with TDR, voltage range 140-280V, complete in all respects. Stabilizer: Servel/ V Gaurd/ Marc/Sen & Pandit/ Stambh/ Inmag/Microtek | Set | 1
15 | Core cutting/ wall/floor chiseling upto 75mm width and 50 mm depth for concealing the copper pipe, drain pipe and conduit either on wall or under floor including making good of damages with plaster, putti and paint. | Mtr | 75
SUB TOTAL (A):
Including GST
Note: Rates are considered inclusive of all including GST. However invoice is to be raised showing GST separatly.

## BOQ EL. MAIN BUILDING (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
BILL OF QUANTITY
INTERNAL ELECTRIFICATION WORK
S.No. | DSR-22EM Code | Description of Item | UNIT | Quantity | Rate (Rs) | Amount(Rs)
Sub-Head : WIRING
1 | 1.10 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
| 1.10.1 | Group A | Point | 152 | 837.2366 | 127259.9618
| 1.10.2 | Group B | Point |  | 974.9888 | 0
| 1.10.3 | Group C | Point |  | 1210.075 | 0
2 | 1.11 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | Point | 0 | 1288.437 | 0
3 | 1.14 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
| 1.14.2 | 2 X2.5 sq. mm + 1X2.5 sq. mm earth wire | Metre | 950 | 226.8375 | 215495.625 | 10
| 1.14.3 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | Metre | 330 | 275.5045 | 90916.47
| 1.14.4 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | Metre | 100 | 362.1151 | 36211.5136
| 1.14.5 | 2 X 10 sq. mm + 1 X 6 sq. mm earth wire | Metre | 0 | 470.1723 | 0
| 1.14.6 | 2 X 16 sq. mm + 1 X 6 sq. mm earth wire | Metre | 0 | 636.7947 | 0
| 1.14.7 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | Metre | 0 | 338.1941 | 0
| 1.14.8 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | Metre | 0 | 442.9518 | 0
| 1.14.9 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | Metre | 40 | 621.9472 | 24877.8873
| 1.14.10 | 4 X 10 sq. mm + 2X6 sq. mm earth wire | Metre | 0 | 828.988 | 0
| 1.14.11 | 4 X 16 sq. mm + 2 X 6 sq. mm earth wire | Metre | 40 | 1125.9389 | 45037.5545
4 | 1.18 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmoured telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
| 1.18.1 | 1 Pair | Metre |  | 25.5708 | 0
| 1.18.2 | 2 Pair | Metre | 1440 | 31.3448 | 45136.5382
| 1.18.3 | 4 Pair | Metre |  | 44.5426 | 0
5 | 1.19 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | Metre | 0 | 38.7686 | 0
5 | 1.21 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
| 1.21.1 | 20 mm | Metre | 1440 | 105.5825 | 152038.8655
| 1.21.2 | 25 mm | Metre | 2520 | 119.6052 | 301405.1727
| 1.21.3 | 32 mm | Metre | 0 | 151.7749 | 0
| 1.21.4 | 40 mm | Metre |  | 188.0689
| 1.21.5 | 50 mm | Metre |  | 234.2613
6 | 1.24 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
| 1.24.1 | 5/6 A switch | No. | 50 | 84.961 | 4248.0477
| 1.24.2 | 2 way 5/6 A switch | No. |  | 122.0798 | 0
| 1.24.3 | 15/16 A switch | No. | 24 | 128.6787 | 3088.2895
| 1.24.4 | 3 pin 5/6 A socket outlet | No. | 50 | 100.6334 | 5031.6682
| 1.24.5 | 6 pin 15/16 A socket outlet | No. | 24 | 162.4981 | 3899.9553
| 1.24.6 | Telephone socket outlet | No. | 24 | 122.0798 | 2929.9156
| 1.24.7 | TV antenna socket outlet | No. | 0 | 122.0798 | 0
| 1.24.8 | Bell push | No. | 3 | 115.4809 | 346.4427
7 | 1.25 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | No. | 21 | 304.3747 | 6391.8683
8 | 1.26 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | No. | 88 | 32.9945 | 2903.52
9 | 1.27 | Supplying and fixing following size/ modules, Gl box along with modular base & cover plate for modular switches in recess etc. as required.
| 1.27.1 | 1 or 2 Module (75mmX75mm) | No. | 69 | 245.8094 | 16960.8461
| 1.27.2 | 3 Module (100mmX75mm) | No. | 24 | 269.7304 | 6473.5298
| 1.27.3 | 4 Module (125mmX75mm) | No. | 0 | 282.9282 | 0
| 1.27.4 | 6 Module (200mmX75mm) | No. | 25 | 331.5952 | 8289.8795
| 1.27.5 | 8 Module (125mmX125mm) | No. | 6 | 374.4881 | 2246.9285
| 1.27.6 | 12 Module (200mmX150mm) | No. | 13 | 451.2004 | 5865.6053
10 | 1.35 | Installation .Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing up to two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | No. | 123 | 98.1588 | 12073.529
10 | 1.38 | Supplying and fixing call bell/ buzzer suitable for single phase, V, complete as required. | No. | 3 | 81.6615 | 244.9845
11 | 1.41 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | No. |  | 169.9219 | 0
11 | 1.45 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (up to 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | No. | 21 | 227.6624 | 4780.9096
12 | 1.47 | Supplying and fixing extra down rod of 10 cm length G.l. pipe ,15 mm dia, heavy gauge including painting etc. as required. (Note More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | No. |  | 37.9437 | 0
13 | 1.48 | Supplying and fixing extra conduit down rod of 20 cm length G.l. pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | No. |  | 42.8929 | 0
12 | 1.50 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
| 1.50.1 | Up to 450 mm sweep | No. | 5 | 371.1886 | 1855.9432
| 1.50.2 | 510 mm sweep | No. |  | 530.3873 | 0
13 | 1.51 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | No. | 5 | 170.7468 | 853.7339
14 | 1.53 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required.
| 1.53.1 | 1 run of cable | Metre | 2520 | 47.0172 | 118483.4127
15 | 1.57 | Supplying & fixing suitable size Gl box with modular plate and cover in fronton surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | No. | 10 | 599.6759 | 5996.7586
16 | 1.58 | Supplying and fixing PVC batten/ angle holder including connections etc. as required. | No. | 5 | 90.735 | 453.675
Sub-Head : MCCB, MCB & OB'S
17 | 2.2 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required.
| 2.2.1 | 100 A, 16 KA.TPMCCB | No. |  | 3115.51 | 0
| 2.2.2 | 125 A, 16 KA.TPMCCB | No. |  | 3976.6676 | 0
| 2.2.3 | 150 A, 16 KA.TPMCCB | No. |  | 4942.5829 | 0
| 2.2.4 | 200 A, 16 KA,TPMCCB | No. |  | 6344.0262 | 0
| 2.2.5 | 200 A, 25 KA.TPMCCB | No. |  | 9086.6978 | 0
| 2.2.6 | 250 A, 25 KA.TPMCCB | No. |  | 10710.0295 | 0
| 2.2.7 | 250 A, 35 KA,TPMCCB | No. |  | 11449.9321 | 0
| 2.2.8 | 315 A, 35 KA.TPMCCB | No. |  | 17805.5065 | 0
| 2.2.9 | 400 A, 35 KA.TPMCCB | No. |  | 17805.5065 | 0
| 2.2.10 | 500 A, 35 KA.TPMCCB | No. |  | 21078.5654 | 0
| 2.2.11 | 630 A, 50 KA.TPMCCB | No. |  | 22980.7009 | 0
| 2.2.12 | 800 A, 50 KA.TPMCCB | No. |  | 29827.0691 | 0
| 2.2.13 | 100 A.30KA.FPMCCB | No. | 0 | 6370.4219 | 0
| 2.2.14 | 125 A.36KA.FPMCCB | No. | 0 | 6771.3056 | 0
| 2.2.15 | 200 A.36KA.FPMCCB | No. | 0 | 12542.8765 | 0
| 2.2.16 | 250 A.36KA.FPMCCB | No. |  | 14443.3623 | 0
| 2.2.17 | 250 A.50KA.FPMCCB | No. | 0 | 15186.5644 | 0
| 2.2.18 | 400 A.50KA.FPMCCB | No. | 0 | 35192.807 | 0
| 2.2.19 | 630 A.5OKA.FPMCCB | No. | 0 | 35545.0238 | 0
18 | 2.3 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator)
| 2.3.1 | 6 way , Double door | No. | 0 | 1819.6492 | 0
| 2.3.2 | 8 way , Double door | No. | 0 | 2122.3741 | 0
| 2.3.3 | 12 way , Double door | No. | 0 | 1909.5593 | 0
| 2.3.4 | 16 way, Double door | No. | 0 | 2590.8967 | 0
18 | 2.4 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator)
| 2.4.1 | 4 way (4 + 12), Double door | No. | 4 | 3374.5171 | 13498.0685
| 2.4.2 | 6 way (4 + 18), Double door | No. | 0 | 4102.8717 | 0
| 2.4.3 | 8 way (4 + 24), Double door | No. | 4 | 4921.9613 | 19687.8453
19 | 2.5 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
| 2.5.1 | 4 way (4 + 12), Double door | No. | 0 | 6196.3756 | 0
| 2.5.2 | 8 way (4 + 24), Double door | No. | 0 | 8384.7389 | 0
| 2.5.3 | 12 way (4 + 36), Double door | No. | 0 | 10585.475 | 0
20 | 2.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.10.1 | Single pole | No. | 70 | 211.1651 | 14781.5564
| 2.10.2 | Single pole and neutral | No. |  | 494.0933 | 0
| 2.10.3 | Double pole | No. |  | 541.1105 | 0
| 2.10.4 | Triple pole | No. |  | 830.6377 | 0
| 2.10.5 | Triple pole and neutral | No. |  | 1012.9325 | 0
21 | 2.11 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | No. | 74 | 10.7232 | 793.5188
22 | 2.12 | Supplying and fixing following rating, double pole, the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.12.1 | 40 A | No. | 0 | 358.8157 | 0
| 2.12.2 | 63 A | No. | 0 | 434.7031 | 0
22 | 2.13 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.13.1 | 40 A | No. |  | 800.1177 | 0
| 2.13.2 | 63 A | No. | 8 | 852.909 | 6823.272
| 2.13.3 | 100 A | No. |  | 1012.1077 | 0
23 | 2.14 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.14.1 | 25 A | No. |  | 1672.8235 | 0
| 2.14.2 | 40 A | No. | 0 | 2179.2897 | 0
| 2.14.3 | 63 A | No. | 0 | 2245.2788 | 0
23 | 2.15 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.15.1 | 25 A | No. |  | 2133.0974 | 0
| 2.15.2 | 40 A | No. |  | 2629.6653 | 0
| 2.15.3 | 63 A | No. | 8 | 2369.0084 | 18952.0669
24 | 2.16 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | No. |  | 964.2656 | 0
25 | 2.17 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | No. |  | 1313.1829 | 0
26 | 2.18 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | No. |  | 1337.104 | 0
27 | 2.19 | Supplying and fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top along with 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | No. |  | 2136.3968 | 0
28 | 2.20 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top along with 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | No. |  | 3387.715 | 0
24 | 2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | No. | 0 | 221.8883 | 0
25 | 2.22 | Providing and fixing H.T. danger notice plate of 250 mm X 200 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | No. |  | 240.8602 | 0
Sub-Head : RISING MAINS & BUS TRUNKING
25 | 3.8 | Supplying, installing on wall, testing and commissioning of following capacity Air Insulated Compact Type Rising Mains for use on 3 phase 4 wire 415 volts, 50Hz A.C. supply with enclosure having IP-54 rating after fixing the tap off boxes and all accessories, made of 1.6mm thick steel sheet duly powder coated in convenient sections complete with 4 Nos aluminium bus bars having current density of 130 A/ sq cm at nominal current rating, necessary joints & expansion joints, fire barrier at each floor, provision of tapping at every metre, continuous earthing with 2 Nos aluminium strip of suitable size (one on each side) including, G.l. clamping brackets, angle iron bracket, steel fasteners, connecting to earthing system etc. as required.
| 3.8.1 | 200 A, Isc = 15kA for 1 second | Metre | 0 | 6573.3383 | 0
| 3.8.2 | 315 A, Isc = 25kA for 1 second | Metre |  | 7681.1302 | 0
| 3.8.3 | 400 A, Isc = 30kA for 1 second | Metre |  | 9147.7377 | 0
| 3.8.4 | 500 A, Isc = 35kA for 1 second | Metre |  | 9188.156 | 0
| 3.8.5 | 630 A, Isc = 50kA for 1 second | Metre | 0 | 10604.4469 | 0
| 3.8.6 | 800 A, Isc = 50kA for 1 second | Metre |  | 15443.097 | 0
| 3.8.7 | 1000 A, Isc = 50kA for 1 second | Metre |  | 15993.281 | 0
| 3.8.8 | 1250 A, Isc = 50kA for 1 second | Metre |  | 18963.615 | 0
26 | 3.11 | Supplying, installation, testing & commissioning of following capacity End Feed Unit for the existing Air Insulated Compact Type bus trunking/ rising mains for use on 3 phase 4 wire 415 volts, 5OHz A.C. supply made with 1.6mm thick steel sheet enclosure (IP54) duly powder coated with provision of MCCB/ACB (but without MCCB/ACB) complete with necessary joints including clamping brackets, angle iron bracket, steel fasteners, connecting to earthing system etc. as required
| 3.11.1 | 200 A, lsc= 15kA for 1 sec | No. | 0 | 6990.7193 | 0
| 3.11.2 | 315 A, lsc= 25kA for 1 sec | No. |  | 8425.982 | 0
| 3.11.3 | 400 A, lsc= 30kA for 1 sec | No. |  | 9339.1061 | 0
| 3.11.4 | 500 A, lsc= 35kA for 1 sec | No. |  | 9339.1061 | 0
| 3.11.5 | 630 A, lsc= 50kA for 1 sec | No. | 0 | 11087.817 | 0
| 3.11.6 | 800 A, lsc= 50 kA for 1 sec | No. |  | 14759.285 | 0
| 3.11.7 | 1000 A, Isc= 50kA for 1 sec | No. |  | 14759.285 | 0
| 3.11.8 | 1250 A, Isc= 50kA for 1 sec | No. |  | 16418.0858 | 0
27 | 3.12 | Supplying, installation, testing & commissioning of following capacity Plug In/ tap off box on the existing Air Insulated Compact Type bus trunking/ rising mains for use on 3 phase 4 wire 415 volts, 50Hz A.C. supply made with 1.6mm thick sheet steel enclosure (IP54) duly powder coated with provision of MCCB/ACB (but without MCCB/ACB) complete etc. as required
| 3.12.1 | 125 A, lsc= 15kA for 1 sec | No. | 0 | 7152.3926 | 0
| 3.12.2 | 200 A, lsc= 25kA for 1 sec | No. | 0 | 7152.3926 | 0
| 3.12.3 | 250 A, lsc= 30kA for 1 sec | No. |  | 8773.2496 | 0
| 3.12.4 | 400 A, lsc= 35kA for 1 sec | No. |  | 8773.2496 | 0
| 3.12.5 | 500 A, lsc= 50kA for 1 sec | No. |  | 13207.7165 | 0
| 3.12.6 | 630 A, lsc= 50kA for 1 sec | No. |  | 13207.7165 | 0
Sub-Head : CABLE TRAYS
28 | 4.6 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.l. suspenders including G.l. bolts & nuts, etc. as required.
| 4.6.1 | 100 mm width X 50 mm depth X 1.6 mm thickness | Metre | 0 | 551.8338 | 0
| 4.6.2 | 150 mm width X 50 mm depth X 1.6 mm thickness | Metre | 0 | 590.6024 | 0
| 4.6.3 | 225 mm width X 50 mm depth X 1.6 mm thickness | Metre |  | 738.253 | 0
| 4.6.4 | 300 mm width X 50 mm depth X 1.6 mm thickness | Metre |  | 794.3437 | 0
| 4.6.5 | 375 mm width X 50 mm depth X 2.0 mm thickness | Metre |  | 1000.5596 | 0
| 4.6.6 | 450 mm width X 50 mm depth X 2.0 mm thickness | Metre |  | 1092.9443 | 0
| 4.6.7 | 600 mm width X 50 mm depth X 2.0 mm thickness | Metre |  | 1476.5059 | 0
| 4.6.8 | 300 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 981.5877 | 0
| 4.6.9 | 375 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 1122.6394 | 0
| 4.6.10 | 450 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 1298.3354 | 0
| 4.6.11 | 600 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 1574.6647 | 0
| 4.6.12 | 750 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 1861.7172 | 0
| 4.6.13 | 900 mm width X 62.5 mm depth X 2.0 mm thickness | Metre |  | 2150.4195 | 0
| 4.6.14 | 600 mm width X 75 mm depth X 2.0 mm thickness | Metre |  | 1612.6084 | 0
| 4.6.15 | 750 mm width X 75 mm depth X 2.0 mm thickness | Metre |  | 1872.4405 | 0
| 4.6.16 | 900 mm width X 75 mm depth X 2.0 mm thickness | Metre |  | 2154.5438 | 0
Sub-Head : EARTHING
29 | 5.2 | Earthing with G.l. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | No. |  | 5654.4402 | 0
29 | 5.4 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | Set | 1 | 6163.3811 | 6163.3811
30 | 5.6 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | Set | 1 | 11414.463 | 11414.463
31 | 5.7 | Supplying and laying 6 SWG G.l. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with Gl thimble etc. as required. | Metre | 5 | 42.068 | 210.3402
32 | 5.8 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | Metre | 5 | 801.7675 | 4008.8373 | 5
33 | 5.9 | Supplying and laying 25 mm X 5 mm G.l. strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.l. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.l. nut bolt & spring washer spaced at 50mm) | Metre | 5 | 118.7804 | 593.9018
34 | 5.14 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | Metre | 5 | 958.4915 | 4792.4577
35 | 5.15 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | Metre | 5 | 201.2667 | 1006.3336
36 | 5.16 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing as required. | Metre | 5 | 57.7405 | 288.7023
Sub-Head : LIGHTNING CONDUCTOR
37 | 6.3 | Fixing of lightning conductor finial (single prong) with base plate including holes etc. complete as required. | Each | 0 | 296.9509 | 0
38 | 6.4 | Jointing copper / G.l. tape (with another copper/ G I tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc as required. | Each | 0 | 93.2096 | 0
39 | 6.9 | Fixing of copper/ G.l. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) | Metre | 0 | 65.9891 | 0
40 | 6.10 | Fixing of copper/ G.l. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run) | Metre | 0 | 133.6279 | 0
41 | 6.12 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.l. strip, 125 mm long, with 4 nos. of G.l. bolts, nuts, chuck nuts and spring washers etc. complete as required. | Each | 0 | 99.8085 | 0
42 | 6.15 | Laying copper/ G.l. tape 32 mm X 6 mm from earth electrode directly in ground as required. | Metre | 0 | 61.8648 | 0
Sub-Head : MV CABLE LAYING
43 | 7.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
| 7.1.1 | Up to 35 sq. mm | Metre | 0 | 319.2222 | 0
| 7.1.2 | Above 35 sq. mm and up to 95 sq. mm | Metre | 0 | 334.0698 | 0
| 7.1.3 | Above 95 sq. mm and up to 185 sq. mm | Metre | 0 | 348.0925 | 0
| 7.1.4 | Above 185 sq. mm and up to 400 sq. mm | Metre | 0 | 390.9854 | 0
44 | 7.2 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required.
| 7.2.1 | Up to 35 sq. mm | Metre |  | 221.8883 | 0
| 7.2.2 | Above 35 sq. mm and up to 95 sq. mm | Metre |  | 235.911 | 0
| 7.2.3 | Above 95 sq. mm and up to 185 sq. mm | Metre |  | 250.7585 | 0
| 7.2.4 | Above 185 sq. mm and up to 400 sq. mm | Metre |  | 293.6515 | 0
45 | 7.3 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering.
| 7.3.1 | Up to 35 sq. mm | Metre |  | 164.9727 | 0
| 7.3.2 | Above 35 sq. mm and up to 95 sq. mm | Metre |  | 178.9954 | 0
| 7.3.3 | Above 95 sq. mm and up to 185 sq. mm | Metre |  | 193.0181 | 0
| 7.3.4 | Above 185 sq. mm and up to 400 sq. mm | Metre |  | 236.7359 | 0
46 | 7.4 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering.
| 7.4.1 | Up to 35 sq. mm | Metre |  | 103.9328 | 0
| 7.4.2 | Above 35 sq. mm and up to 95 sq. mm | Metre |  | 117.9555 | 0
| 7.4.3 | Above 95 sq. mm and up to 185 sq. mm | Metre |  | 132.803 | 0
| 7.4.4 | Above 185 sq. mm and up to 400 sq. mm | Metre |  | 175.696 | 0
44 | 7.5 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
| 7.5.1 | Up to 35 sq. mm | Metre | 0 | 30.52 | 0
| 7.5.2 | Above 35 sq. mm and up to 95 sq. mm | Metre | 0 | 47.0172 | 0
| 7.5.3 | Above 95 sq. mm and up to 185 sq. mm | Metre |  | 63.5145 | 0
| 7.5.4 | Above 185 sq. mm and up to 400 sq. mm | Metre | 0 | 110.5317 | 0
45 | 7.6 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
| 7.6.1 | Up to 35 sq.mm | Metre |  | 23.0962 | 0
| 7.6.2 | Above 35 sq. mm and up to 95 sq. mm | Metre |  | 37.1189 | 0
| 7.6.3 | Above 95 sq. mm and up to 185 sq. mm | Metre |  | 51.9664 | 0
| 7.6.4 | Above 185 sq. mm and up to 400 sq. mm | Metre |  | 94.8593 | 0
45 | 7.7 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
| 7.7.1 | Up to 35 sq. mm (clamped with 1mm thick saddle) | Metre | 0 | 45.3675 | 0
| 7.7.2 | Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | Metre | 0 | 107.2323 | 0
| 7.7.3 | Above 95 sq. mm and up to 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | Metre |  | 126.2041 | 0
| 7.7.4 | Above 185 sq. mm and up to 400 sq. mm (damped with 40x3mm MS flat clamp) | Metre | 0 | 186.4192 | 0
46 | 7.8 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
| 7.8.1 | Up to 35 sq. mm (clamped with 1mm thick saddle) | Metre | 0 | 37.1189 | 0
| 7.8.2 | Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | Metre | 0 | 75.8875 | 0
| 7.8.3 | Above 95 sq. mm and up to 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | Metre |  | 94.8593 | 0
| 7.8.4 | Above 185 sq. mm and up to 400 sq. mm (clamped with 40x3mm MS flat clamp) | Metre | 0 | 152.5998 | 0
47 | 7.9 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | No. |  | 482.5452 | 0
48 | 7.10 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.l. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | No. |  | 419.0307 | 0
Sub-Head : MV CABLE JOINTING & END TERMINATION
47 | 9.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
| 9.1.1 | 2 X 6 sq. mm (19mm) | No. |  | 197.9673 | 0
| 9.1.2 | 2 X 10 sq. mm (19mm) | No. |  | 198.7921 | 0
| 9.1.3 | 2 X 16 sq. mm (22mm) | No. |  | 211.1651 | 0
| 9.1.4 | 2 X 25 sq. mm (22mm) | No. |  | 213.6397 | 0
| 9.1.5 | 2 X 35 sq. mm (25mm) | No. |  | 255.7077 | 0
| 9.1.6 | 2X50 sq. mm (28mm) | No. |  | 289.5271 | 0
| 9.1.7 | 3 X 10 sq. mm (22mm) | No. |  | 211.99 | 0
| 9.1.8 | 3 X 16 sq. mm (25mm) | No. |  | 222.7132 | 0
| 9.1.9 | 3 X 25 sq. mm (25mm) | No. |  | 226.8375 | 0
| 9.1.10 | 3 X 35 sq. mm (28mm) | No. |  | 289.5271 | 0
| 9.1.11 | 3 X 50 sq. mm (32mm) | No. |  | 307.6741 | 0
| 9.1.12 | 3 X 70 sq. mm (35mm) | No. |  | 349.7422 | 0
| 9.1.13 | 3 X 95 sq. mm (38mm) | No. |  | 447.0761 | 0
| 9.1.14 | 3 X 120 sq. mm (45mm) | No. |  | 492.4436 | 0
| 9.1.15 | 3 X 150 sq. mm (50mm) | No. |  | 561.7321 | 0
| 9.1.16 | 3 X 185 sq. mm (57mm) | No. |  | 707.733 | 0
| 9.1.17 | 3 X 225 sq. mm (62mm) | No. |  | 801.7675 | 0
| 9.1.18 | 3 X 240 sq. mm (62mm) | No. |  | 828.1631 | 0
| 9.1.19 | 3 X 300 sq. mm (70mm) | No. |  | 960.9661 | 0
| 9.1.20 | 3-1/2X 25 sq.mm | No. |  | 258.1823 | 0
| 9.1.21 | 3-1/2 X 35 sq.mm | No. | 0 | 304.3747 | 0
| 9.1.22 | 3-1/2 X50 sq.mm | No. |  | 340.6687 | 0
| 9.1.23 | 3-1/2 X 70 sq.mm | No. | 0 | 386.0362 | 0
| 9.1.24 | 3-1/2 X 95 sq.mm | No. |  | 485.0198 | 0
| 9.1.25 | 3-1/2 X 120 sq. mm | No. |  | 505.6414 | 0
| 9.1.26 | 3-1/2 X 150 sq. mm | No. |  | 574.93 | 0
| 9.1.27 | 3-1/2 X 185 sq. mm | No. |  | 721.7557 | 0
| 9.1.28 | 3-1/2 X 225 sq. mm | No. |  | 819.9145 | 0
| 9.1.29 | 3-1/2 X240 sq.mm | No. |  | 847.135 | 0
| 9.1.30 | 3-1/2 X300 sq.mm | No. | 0 | 985.712 | 0
| 9.1.31 | 3-1/2 X400 sq.mm | No. |  | 1283.4878 | 0
| 9.1.32 | 4 X 10 sq. mm (25mm) | No. |  | 221.8883 | 0
| 9.1.33 | 4 X 16 sq. mm (28mm) | No. | 0 | 254.8829 | 0
| 9.1.34 | 4 X 25 sq. mm (28mm) | No. |  | 259.832 | 0
| 9.1.35 | 4 X 35 sq. mm (32mm) | No. |  | 305.1995 | 0
| 9.1.36 | 4 X 50 sq. mm (35mm) | No. |  | 344.793 | 0
Sub-Head : MISC. CIVIL ITEMS
48 | CIVIL DSR- 2023 (14.15) | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S. sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing.(DSR Civil 2023 Item no. 10.18.) | Each | 21 | 182.0062 | 3822.1294
Sub-Head : Ceiling Fan with BLDC Motor
49 | 19.1 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | No. |  | 2251.8777 | 0
Sub-Head : FACADE LIGHTING (DSR 2019-E/M,FAÇADE LIGHTING)
49 | 1 | Supply, Installation, Testing and Commissioning of LED RGB/RGBW floodlighting luminaire for facade lighting with Die-cast aluminium housing, powder-coated finish, of following wattage.Luminaire shall be capable of producing dynamic color changing light for with 16 million colors by DMX/Ethernet based control.The beam angle of the fitting shall be narrow, medium, wide or asymmetric as per the requirement.Luminaire shall be complete with driver and capable of operating at line voltage without any separate power supply from 100-270VAC, 50Hz with power factor>0.9.Fixture shall be suitable to operate at an ambient temperature range of-10°C to +50°C and shall be IP65 and IK06 rated.Lifetime shall be atleast L70:50000 burning hours at 50°C.Luminaire shall be conforming to BIS(IS10322) and shall be complete with all necessary accessories required for proper working of fixture including weather proof connection cables, waterproof connectors etc. as required.
| 1.1 | 600W/580W | Each |  | 263548.881 | 0
| 1.2 | 300 W/ 280 W | Each |  | 127119.735 | 0
| 1.3 | 250 W | Each |  | 109063.47 | 0
| 1.4 | 140 W | Each | 0 | 68065.7676 | 0
| 1.5 | 130 W | Each |  | 62052.7591 | 0
| 1.6 | 110 W/115 W | Each |  | 51764.3175 | 0
| 1.7 | 90 W | Each |  | 47599.581 | 0
| 1.8 | 75 W | Each |  | 44469.2235 | 0
| 1.9 | 55 W | Each |  | 39022.4014 | 0
| 1.1 | 45 W/40 W | Each |  | 33789.714 | 0
| 1.11 | 30 W | Each | 0 | 18164.2396 | 0
50 | 2 | Supply, Installation, Testing and Commissioning of LED RGB/RGBW Linear Wall Washer luminaire for Facade lighting with aluminium extruded housing, of following wattage.Luminaire shall be capable of producing dynamic color changing light with 16 million colors by DMX/Ethernet based control.The beam angle of the fitting shall be narrow, medium, wide or asymmetric as per the requirement.Luminaire shall be complete with driver and capable of operating at line voltage without any separate power supply from 100 to2 70 VAC,50Hz,powerfactor>0.9.Fixture shall be suitable to operate at ambient temperature range of-10°C to +50°C and shall be IP65 and IK06 rated.Lifetime should be atleast L70:50000 burning hours at 50°C.Luminaire shall be conforming to BIS and shall be complete with all necessary accessories required for proper working of fixture including weatherproof connection cables, waterproof connectors etc. as required.
| 2.1 | 80W | Each | 0 | 51464.892 | 0
| 2.2 | 70W | Each |  | 49087.635 | 0
| 2.3 | 60W | Each | 0 | 41770.7646 | 0
| 2.4 | 40W | Each |  | 35432.0175 | 0
| 2.5 | 25W | Each |  | 20987.0055 | 0
Sub-Head : Non-Schedule Items
49 | A.R. - 1 | Supply of AC 1400mm Sweep, 230/250 Volts, 50 Hz ceilling fan without regulator, standard down rod, blades etc. complete as required. (Standard - Plain Ceiling Fans) | each | 0 | 2854 | 0
50 | A.R. - 2 | Supply of AC 1200mm Sweep, 230/250 Volts, 50 Hz ceilling fan without regulator, standard down rod, blades etc. complete as required. (Standard - Plain Ceiling Fans) | each | 21 | 1807 | 37947
51 | A.R. - 3 | Supply & Fixing of 400mm sweep, wall mounted fan complete with double ball bearing, motor, blades, capacitor etc suitable for single phase 230 volts, 50 Hz., AC supply, complete as required. | each | 0 | 1548 | 0
51 | A.R. - 4 | Supply of AC 300mm Sweep, 230/250 Volts, 50 Hz exhaust fan (Heavy Duty) with blades,cover etc. complete as required. | each | 5 | 1232 | 6160
52 | A.R. - 5 | Supply of AC 200mm Sweep, 230/250 Volts, 50 Hz exhaust fan (Light Duty) with blades,cover etc. complete as required | each | 0 | 1220 | 0
53 | A.R. - 6 | Supply of Factory made 12 to 20 Watt LED Bulb fitting,cool day light,(65000 K temp.) suitable for Batton/Angle holder including making connection.Complete in all respect. | each | 5 | 143 | 715
53 | A.R. - 7.1 | Supply of recess mounting round 12 to 15 Watt LED Down Lighter having Powder coated die cast aluminium housing with heat sink, diffuser/ Reflector and driver set complete in all respect. CAT-AAA | each | 90 | 461 | 41490
54 | A.R. - 7.2 | Supply of recess mounting round 15 to 18 Watt LED Down Lighter having Powder coated die cast aluminium housing with heat sink, diffuser/ Reflector and driver set complete in all respect. CAT-AAA | each | 0 | 2188 | 0
55 | A.R. - 8 | Supply of LED Tube Light with batten suitable for up to 1 X 22 watt LED tube light fitting including tube on Surface complete in all respect.(4ft) CAT- AAA | each | 26 | 552 | 14352
56 | A.R. - 9.1 | Supply of 36 Watt to 46 Watt indoor Recess mounting LED Square Fitting for Armstrong Ceiling having Powder coated die cast aluminium housing body with extended heat sink and diffuser of Special Polycarbonate meterial and driver set complete in all respect. CAT-AAA | each | 0 | 2739 | 0
57 | A.R. - 9.2 | Supply and Fixing of 100W LED Luminaire For Flood Light (IP 66 PROTECTED) | each | 0 | 3306 | 0
58 | A.R. - 10 | Supply of LED Tube Light with batten suitable for up to 1 X 10 watt LED tube light fitting including tube on Surface complete in all respect.(2ft) CAT- AAA | each | 2 | 390 | 780
59 | A.R. - 11 | Supply of water tight oblong 10 Watt LED bulk head luminaire having die cast housing with driver set confirming to IP 65 and above Protection.Complete in all respect. | each | 0 | 1425 | 0
60 | A.R. - 12 | Supply & Fixing of LAN socket outlet modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | each | 42 | 538 | 22596
61 | A.R. - 13 | Supply and fixing of Three phase multifunctional electronic energy meter 10 to 60 Amp. Capacity fitted in intergral box on wall complete in all respect. | each | 0 | 8989 | 0
61 | A.R. - 14 | Supply of aluminium conductor XLPE insulated armoured served sheathed cables 1100 Volts grade. |  |  |  | 0
| A | 6 sq. mm 2 core | Mtr. |  | 157 | 0
| B | 10 sq. mm 2 core | Mtr. |  | 107 | 0
| C | 16 sq. mm 2 core | Mtr. |  | 107 | 0
| D | 6 sq. mm 4 core | Mtr. |  | 98 | 0
| E | 10 sq. mm 4 core | Mtr. |  | 127 | 0
| F | 16 sq. mm 4 core | Mtr. | 0 | 132 | 0
| G | 25 sq. mm 3-1/2 core | Mtr. |  | 159 | 0
| H | 35 sq. mm 3-1/2 core | Mtr. | 0 | 186 | 0
| I | 50 sq. mm 3-1/2 core | Mtr. |  | 276 | 0
| J | 70 sq. mm 3-1/2 core | Mtr. | 0 | 356 | 0
| K | 95 sq. mm 3-1/2 core | Mtr. |  | 467 | 0
| L | 120 sq. mm 3-1/2 core | Mtr. |  | 573 | 0
| M | 150 sq. mm 3-1/2 core | Mtr. |  | 671 | 0
| N | 185 sq. mm 3-1/2 core | Mtr. |  | 730 | 0
| O | 240 sq. mm 3-1/2 core | Mtr. |  | 1041 | 0
| P | 300 sq. mm 3-1/2 core | Mtr. | 0 | 1569 | 0
| Q | 400 sq. mm 3-1/2 core | Mtr. |  | 1742 | 0
62 | A.R. - 15 | Supply of Lightening Finial,25mm dia X 300 mm long,copper | each | 0 | 679 | 0
63 | A.R. - 16 | Supply of 20 mm X 3 mm copper tape (.533 kg/mtr.) | Mtr. | 0 | 397 | 0
64 | A.R. - 17 | Supply of 32 mm X 6 mm copper tape (1.705 kg/mtr.) | Mtr. | 0 | 1271 | 0
65 | A.R. - 18 | Providing and fixing following rating and breaking capacity 1250 A 50kA ACB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | each |  | 250727 | 0
| A.R. - 19 | Supply & Erracetion of factory fabricated & wired metal clad dust and vermin proof floor mounting, M.S. Channel Base with bottom and top cable entreis Electrical control panel with TPN MCCB's (Four Pole 36 KA with thermal magnatic release)Switches Complete and instrument chamber etc.complete in all respects. The instrument chamber shall be separate and shall comprise of flush type digital metering system for phase to phase voltage and single phase voltage, current and other parameters(KVA,P.F,KW etc) in each phase with touch type selector switches for different readings, instrument fuses, current transformer etc. The panel board shall have suitable capacity electrolytic alumininum busbars as per IS8623 or above istulated with heat shrink sleeving and mounted on non hygroscopic supports such as CMC/BMC support with deteachable side covers and shall be suitable for extension on the sides. The MCCB's shall be complete with suitable cable end boxes, compression glands and indicating lamp on incoming etc.The Job includes the grounting of the board as per directions of Engineer-in charge. All out goings of 100 Amp and above shall have an Ammeter. The panel board shall be fabricated with CRCA sheet with a minimum thickness of 1.6mm/2mm. Cubicle type switch board shall be of cat B Only.
| A.R. - 19.1 | Incoming
100 Amp MCCB -1 No
Outgoning
65 | 1 | 63 Amp. MCCB-2 Nos.+(63 AMP FPMCB-8 NOS.) AS BUILDING PANEL | each | 0 | 123499.272 | 0
| 2 | 32 Amp. MCCB-3 Nos. | each |  | 147672 | 0
66 | 3 | 63 Amp. MCCB-1 No & 32 Amp. MCCB-2 Nos.(63 AMP FPMCB-4NOS.) | each |  | 141939.636 | 0
| A.R. - 19.2 | Incoming
200 Amp. MCCB-1 No
Outgoing
66 | 1 | 100 Amp. MCCB-2 Nos.+(100 AMP. MCCB-4 NOS.) | each | 0 | 169121.6875 | 0
| 2 | 63 Amp. MCCB-3 Nos. | each |  | 158382 | 0
| 3 | 100 Amp. MCCB-1 No & 63 Amp. MCCB-3 Nos. | each |  | 173968 | 0
| A.R. - 19.3 | Incoming
400 Amp. MCCB-1 Nos.
Outgoing
| 1 | 200 Amp. MCCB-2 Nos,100 Amp MCCB- 1 No, & 63 Amp MCCB-1 No | each |  | 256852 | 0
| 2 | 200 Amp. MCCB-2 Nos.& 63 Amp. MCCB-1 Nos. | each |  | 253890 | 0
| 3 | 200 Amp. MCCB-1 No, 100 Amp MCCB - 2 Nos & 63 Amp. MCCB-1 No | each |  | 244996 | 0
| 4 | 200 Amp. MCCB-1 No100 Amp MCCB-1 No & 63 Amp MCCB-2 Nos. | each |  | 250740 | 0
| 5 | 100 Amp.MCCB-3Nos. & 63 Amp.MCCB-2Nos. | each |  | 250957 | 0
| A.R. - 19.4 | Incoming
630 Amp. MCCB-1 No
Outgoing
| 1 | 100 Amp.MCCB-5 Nos.& 63 Amp.MCCB-2 Nos | each |  | 379260 | 0
| 2 | 200 Amp. MCCB-2 Nos. 100 Amp-MCCB-1 No& 63 Amp. MCCB-2 Nos. | each |  | 371952 | 0
| 3 | 200 Amp.MCCB-2Nos., 100 Amp.MCCB-2Nos. & 63 Amp.MCCB-1No | each |  | 375732 | 0
| 4 | 200 Amp.MCCB-1No, 100 Amp.MCCB-2Nos. 63 Amp.MCCB-2 Nos. & 32 Amp MCCB- 1 No | each |  | 417312 | 0
| 5 | 200 Amp.MCCB- 1 No ,100 Amp MCCB-1 No & 63 Amp.MCCB-5 Nos. | each |  | 446040 | 0
| A.R. - 19.4 | Incoming
800 Amp. MCCB-1 Nos.
Outgoing
| 1 | 630 Amp.MCCB-1 No, 200 Amp.MCCB-1No& 63 Amp.MCCB-1No | each |  | 452592 | 0
| 2 | 630 Amp. MCCB-1 No, 100Amp MCCB- 2 Nos. & 63 Am. MCCB-1 No | each |  | 459900 | 0
| 3 | 400 Amp.MCCB-1No, 100 Amp.MCCB-4 Nos.& 63 Amp.MCCB-1No | each |  | 492232 | 0
| 4 | 400 Amp.MCCB-1 No, 200 Amp.MCCB-1No,100 Amp.MCCB-1No & 63 Amp MCCB - 1 No | each |  | 469350 | 0
| 5 | 200 Amp.MCCB-3 Nos., 100 Amp.MCCB-1No & 63 Amp.MCCB-1No | each |  | 482580 | 0
|  | TOTAL |  |  |  | 1482675.9062
|  | TOTAL | Say | Rs. | 14.83 | Lacs
|  | GRAND TOTAL ( FOR 1 BLOCK) | Say | Rs. | 14.83 | Lacs

## SOP MAIN BUILDING (hidden)
SCHEDULE OF POINTS
0
GROUND FLOOR
S.No. | Location | LED 1x22 W Tube light | Batten Holdar | LED Light1x10 W bulk head | LED Mirror Light 10 W | LED Light 12 W | LED Light 18 W | LED Light 36 W | 60 LED LINEAR WALL WASHER LIGHT FIXTURE | 80 LED LINEAR WALL WASHER LIGHT FIXTURE | 55 LED FLOOD LIGHT FIXTURE | 30 LED FLOOD LIGHT FIXTURE | 140 LED FLOOD LIGHT FIXTURE | Fan 1200 mm | FAN 1400 mm | WALL MOUNTED FAN 400 MM | Ex Fan 200 mm | Ex Fan 300 mm | Call Bell / Buzzer | Plug Point (6AMP) | Power Plug Point(16 AMP) | UPS PLUG POINT (6 AMP) | UPS PLUG POINT (16 AMP) | MCB Power Point | GEYSER POINT | Tele phone Point | Data Point | Tv Point | Two Way Light Point | Light Point | Fan /Ex Fan Point | Heavy duty Ex Fan Point | Call Bell Point
1 | CONFERENCE HALL | 8 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 1 | 12 | 6 | 0 | 0 | 6 | 0 | 1 | 12 | 0 | 0 | 20 | 5 | 0 | 1
2 | REGIONAL MANAGER | 2 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 10 | 2 | 0 | 1
3 | CHIEF MANAGER | 3 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 15 | 3 | 0 | 1
4 | ASSISSTANT | 4 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 8 | 4 | 0 | 0 | 2 | 0 | 1 | 8 | 0 | 0 | 10 | 2 | 0 | 0
5 | OPEN AREA | 6 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 20 | 10 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 54 | 8 | 0 | 0
6 | LOBBY | 1 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 0
4 | TOILET | 2 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 5 | 0
| TOTAL | 26 | 5 | 0 | 2 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 5 | 3 | 50 | 24 | 0 | 0 | 10 | 0 | 24 | 42 | 0 | 0 | 123 | 21 | 5 | 3
S.No. | FIXTURES | LED 1x22 W Tube light | Batten Holdar | LED Light1x10 W bulk head | LED Mirror Light 10 W | LED Light 12 W | LED Light 18 W | LED Light 36 W | 60 LED LINEAR WALL WASHER LIGHT FIXTURE | 80 LED LINEAR WALL WASHER LIGHT FIXTURE | 55 LED FLOOD LIGHT FIXTURE | 30 LED FLOOD LIGHT FIXTURE | 140 LED FLOOD LIGHT FIXTURE | Fan 1200 mm | FAN 1400 mm | WALL MOUNTED FAN 400 MM | Ex Fan 200 mm | Ex Fan 300 mm | Call Bell / Buzzer | Plug Point (6AMP) | Power Plug Point(16 AMP) | UPS PLUG POINT (6 AMP) | UPS PLUG POINT (16 AMP) | MCB Power Point(FOR VRV) | GEYSER POINT | Tele phone Point | Data Point | Tv Point | Two Way Light Point | Light Point | Fan /Ex Fan Point | Heavy duty Ex Fan Point | Call Bell Point
| LOADS (IN WATTS) | 22 | 13 | 10 | 10 | 12 | 18 | 36 | 60 | 80 | 55 | 30 | 140 | 60 | 60 | 60 | 60 | 100 | 0 | 100 | 500 | 100 | 500 | 1500 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | GROUND FLOOR | 26 | 5 | 0 | 2 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 5 | 3 | 50 | 24 | 0 | 0 | 10 | 0 | 24 | 42 | 0 | 0 | 123 | 21 | 5 | 3
| TOTAL POINT | 26 | 5 | 0 | 2 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 5 | 3 | 50 | 24 | 0 | 0 | 10 | 0 | 24 | 42 | 0 | 0 | 123 | 21 | 5 | 3
LOAD (IN WATTS)
1 | GROUND FLOOR | 572 | 65 | 0 | 20 | 1080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1260 | 0 | 0 | 0 | 500 | 0 | 5000 | 12000 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL LOAD | 572 | 65 | 0 | 20 | 1080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1260 | 0 | 0 | 0 | 500 | 0 | 5000 | 12000 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LOAD CALCULATION | [28 empty] | KW | D.F | KVA | AMP
| TOTAL LOAD FOR (LIGHT+FAN) | [28 empty] | 63.497 | 50.7976 | 63.497 | 88.34 | 106.008
| TOTAL LOAD FOR (POWER) | [28 empty] | 32 | 16 | 20 | 27.82 | 34.775
| TOTAL LOAD | [28 empty] | 95.497 | 66.7976 | 83.497 | 116.16
| CALCULATION OF CIRCUITS | [25 empty] | LIGHT +FAN POINT | PLUG POINT (6AMP) | POWER PLUG POINT (16 AMP) | UPS (6AMP) | UPS (16AMP) | AC | GEYSER
| GROUND FLOOR | [25 empty] | 152 | 50 | 24 | 0 | 0 | 10 | 0
| TOTAL POINTS | [25 empty] | 152 | 50 | 24 | 0 | 0 | 10 | 0
| TOTAL NO. OF CKTS | [25 empty] | 19 | 17 | 16 | 0 | 0 | 10 | 0 | 62
| DB'S DETAILS |  | LDB | [10 empty] | PDB
| GROUND FLOOR |  | 2 X 4 WAY TPN | [10 empty] | 2 X 8 WAY TPN
| FIRST FLOOR |  | 2 X 4 WAY TPN | [10 empty] | 2 X 8 WAY TPN
TYPES OF DB'S
SPN
| 6 WAY | 0
| 8 WAY | 0
| 12 WAY | 0
| 16 WAY | 0
TPN
| 4 WAY | 4
| 6 WAY | 0
| 8 WAY | 4
| 12 WAY | 0
VTPN
| 4 WAY | 0
| 6 WAY | 0
| 8 WAY | 0
| 12 WAY | 0

## BOQ DW (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
BOQ DOOR & WINDOW
S.N. | REF NO | DESCRIPTION OF ITEM | TOTAL QTY | UNIT | BASE RATE | FINAL RATE | AMOUNT Rs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 0.81365
1 | 15.12.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | 13 | Each | 367.2 | 298.773 | 3884.05
2 | 9.147A | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and lnline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all comers, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing confonning to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. |  |  |  | 0 | 0
|  | Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with I without high perfonnance coatings as per design requirements and confonning to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3 (ii) Sites with structure height more than 20m for all wind speeds |  |  |  | 0 | 0
| 9.147.A1.1 | Two track two panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Using R2 series with frame (40 mm & above) x (40 mm & above) & sash (25 mm & above) x (50 mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 metre). | 33.3 | Sqm | 8298.85 | 6752.3748 | 224854.08
3 | 15.25 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 345.81 | Sqm | 266.45 | 216.7975 | 74970.76
4 | 11.41A.1.1 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to 15:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1 :4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | 380.39 | Sqm | 1453.65 | 1182.765 | 449911.99
[5 empty] | TOTAL : |  | 753620.88
[5 empty] | SAY IN LACS |  | 7.54

## DET. DW (hidden)
DETAILED ESTIMATE FOR PROPOSED CONSTRUCTION / INTERIOR LAYOUT OF
RBO OFFICE SBI AT RAAM RAAM BANK CHAURAHA
DISTRICT:- LUCKNOW (U.P.)
DETAILED OF MEASUREMENT
BANK
S. N. | ITEM | NO. | L | B | D/H | Qty. | UNIT
1 | Dismantling doors, windows and clerestory windows (steel or wood)shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
| D | 13 | 1 |  |  | 13
[5 empty] | Total | 13 | Each
2 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and lnline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all comers, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing confonning to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge.
| W | 15 | 1.85 |  | 1.2 | 33.3
[5 empty] | Total | 33.3 | Sqm
[5 empty] | G.Total | 33.3 | Sqm
3 | DISMANTLING OF KOTA STONE
| CONFERENCE HALL | 1 | 5.58 | 11.66 |  | 65.06
| REIGIONAL MANAGER | 1 | 5.17 | 5.995 |  | 30.99
| CHIEF MANAGER | 3 | 3 | 3.5 |  | 31.5
| ASSISSTANT | 1 | 7.38 | 3.5 |  | 25.83
| WAITING AREA | 1 | 18.528 | 8.645 |  | 160.17
|  | 1 | 5.246 | 6.15 |  | 32.26
[5 empty] | Total | 345.81 | Sqm
[5 empty] | G.Total | 345.81 | Sqm
4 | VITRIFIED TILES
| CONFERENCE HALL | 1 | 5.58 | 11.66 |  | 65.06
| REIGIONAL MANAGER | 1 | 5.17 | 5.995 |  | 30.99
| CHIEF MANAGER | 3 | 3 | 3.5 |  | 31.5
| ASSISSTANT | 1 | 7.38 | 3.5 |  | 25.83
| WAITING AREA | 1 | 18.528 | 8.645 |  | 160.17
|  | 1 | 5.246 | 6.15 |  | 32.26
| 10% EXTRA FOR SKIRTING | 1 | 345.81 | @ | 0.1 | 34.58
[5 empty] | Total | 380.39 | Sqm
[5 empty] | G.Total | 380.39 | Sqm